DuPont Building Innovations






  March 2009
4417 Lancaster Pike

Chestnut Run Plaza 721

Wilmington, DE 19805

1-800-448-9835
www.construction.TYVEK.com

Product and System Specifications
DuPont™ Tyvek® HomeWrap®
Specifier Note: The purpose of this guide specification is to assist the specifier in correctly specifying weather barrier products and execution. The specifier needs to edit the guide specifications to fit the needs of specific projects. Contact a DuPont™ Tyvek® Specialist to assist in appropriate product selections. Throughout the guide specification, there are Specifier notes to assist in editing of the file.

References have been made within the text of the specification to CSI MasterFormat 2004 Section numbers and titles. The specifier needs to coordinate these numbers and titles with sections included for the specific project. Brackets [ ]; “AND/OR”; and “OR” have been used to indicate when a selection is required.

This guide is for applications using a non-woven, spunbonded polyolefin sheet air and moisture barrier assembly. This barrier is non-perforated, without visible holes or voids, designed to help stop the passage of bulk water and airflow movement, yet it is vapor permeable. This barrier assembly offers a balance of properties and protection for the building envelope by providing a lightweight barrier that will resist wind, water, abrasion, tearing, puncturing, and UV exposure for up to 4 months.

This weather barrier is acceptable for use behind traditional brick veneer, vinyl and wood siding applications up to four stories. For applications beyond four stories, or where a commercial warranty is required, DuPont™ Tyvek® CommercialWrap® is recommended.

This weather barrier is specifically for above grade, vertical wall surfaces where the wall assembly may consist of any of the following: exterior gypsum sheathing, exterior plywood sheathing, oriented strand board (OSB) sheathing and masonry.

It is the recommendation and the preferred application for the weather barrier to be installed prior to the installation of the windows and doors. In cases where conditions require installation of weather barrier after window installation or non-flanged windows are used, contact a DuPont™ Tyvek® Specialist for assistance and recommendations.
SECTION 07 25 00
WEATHER BARRIERS
DuPont™ Tyvek® HomeWrap®
PART 1 - GENERAL

1.1 SECTION INCLUDES

(Specifier Note: “Weather barrier assembly” has been used throughout the document. A weather barrier is a weather-resistant membrane for vertical building envelope protection that will maintain air/moisture resistance while maintaining moisture-vapor permeability. The assembly consists of the following four components.)

A.
Weather barrier membrane (DuPont™ Tyvek® HomeWrap®)
B.
Seam Tape (DuPont™ Tyvek® Tape)
C.
Flashing (DuPont™ FlexWrap™, DuPont™ FlexWrap™ NF, DuPont™ StraightFlash™, DuPont™ StraightFlash™ VF, and/or DuPont™ Thru-Wall Flashing)
D.
Fasteners (DuPont™ Tyvek® Wrap Caps)
1.2 REFERENCES

A.
ASTM International

1.
ASTM C920; Standard Specification for Elastomeric Joint Sealants

2.
ASTM C1193; Standard Guide for Use of Joint Sealants

3.
ASTM D882; Test Method for Tensile Properties of Thin Plastic Sheeting

4.
ASTM D1117; Standard Guide for Evaluating Non-woven Fabrics

5.
ASTM E84; Test Method for Surface Burning Characteristics of Building Materials

6.
ASTM E96; Test Method for Water Vapor Transmission of Materials

7.
ASTM E1677; Specification for Air Retarder Material or System for Framed Building Walls

8.
ASTM E2178; Test Method for Air Permeance of Building Materials

B.
AATCC – American Association of Textile Chemists and Colorists

1.
Test Method 127 Water Resistance: Hydrostatic Pressure Test

C.
TAPPI

1.
Test Method T-410; Grams of Paper and Paperboard (Weight per Unit Area)

2.
Test Method T-460; Air Resistance (Gurley Hill Method)

1.3 SUBMITTALS

(Specifier Note: The use of a weather barrier as part of an assembly to reduce air infiltration may assist in achieving points for USGBC LEED® Certified Projects or an ENERGY STAR® label for new homes or home improvements. Contact a DuPont™ Tyvek® Specialist for assistance.)

A.
Refer to Section [01 33 00 Submittal Procedures] [Insert section number and title].
B.
Product Data: Submit manufacturer current technical literature for each component.

C.
Samples: Weather Barrier membrane, minimum 8-1/2 inches by 11 inch.

D.
Quality Assurance Submittals

1.
Manufacturer Instructions: Provide manufacturer’s written installation instructions.

(Specifier Note: See the DuPont website for more information on residential warranties.)

E.
Closeout Submittals

1.
Refer to Section [01 78 00 Closeout Submittals] [insert section number and title].

1.4 QUALITY ASSURANCE

A.
Qualifications

1.
Installer shall have experience with installation of similar weather barrier assemblies under similar conditions.

2.
Installation shall be in accordance with manufacturer’s installation guidelines and recommendations.

3.
Source Limitations: Provide weather barrier and accessory materials produced by single manufacturer.

1.5 DELIVERY, STORAGE AND HANDLING

A.
Refer to Section [01 60 00 Product Requirements] [insert section number and title].

B.
Deliver weather barrier materials and components in manufacturer’s original, unopened, undamaged containers with identification labels intact.

C.
Store weather barrier materials as recommended by system manufacturer.

1.6 SCHEDULING

(Specifier Note: The preferred order of installation for DuPont™ Tyvek® HomeWrap® is prior to the installation of windows and doors.)

A. Review requirements for sequencing of installation of weather barrier assembly with installation of windows, doors, louvers and flashings to provide a weather-tight barrier assembly.

PART 2 – PRODUCTS
(Specifier Note: Product Information is proprietary to DuPont™ Tyvek® HomeWrap® If additional products are required for competitive procurement, contact DuPont Building Innovations for assistance.)
2.1 MANUFACTURER

A. DuPont; 4417 Lancaster Pike, Chestnut Run Plaza 728, Wilmington, DE  19805; 1-800-44-TYVEK (8-9835); http://www.construction.tyvek.com
2.2 MATERIALS

A.  
Basis of Design: spunbonded polyolefin, non-woven, non-perforated, weather barrier is based upon DuPont™ Tyvek® HomeWrap® and related assembly components.


B.
Performance Characteristics:

1.
Air Penetration: <.004 cfm/ft2 at 1.57 psf, when tested in accordance with ASTM E2178. Type I per ASTM E1677.

2.
Water Vapor Transmission: 56 perms, when tested in accordance with ASTM E96-05, Method A.

3.
Water Penetration Resistance: 250 cm when tested in accordance with AATCC Test Method 127.

4.
Basis Weight: 1.8 oz/yd2, when tested in accordance with TAPPI Test Method T-410.

5.
Air Resistance: 1200 seconds, when tested in accordance with TAPPI Test Method T-460.

6.
Tensile Strength: 30/30 lbs/in., when tested in accordance with ASTM D882.
7.
Tear Resistance: 8/6 lbs, when tested in accordance with ASTM D1117.

8.
Surface Burning Characteristics: Class A, when tested in accordance with ASTM E84. Flame Spread: 15, Smoke Developed: 15
2.3 ACCESSORIES

A.
Seam Tape: [2] [or] [3] inch wide, DuPont™ Tyvek® Tape as distributed by DuPont Building Innovations.

B.
Fasteners:

(Specifier Note: Fasteners are dependent upon substrate construction. More than one type of fastener may be required on a single project. REVIEW construction conditions and DELETE fasteners that are unnecessary.)

1. (Specifier Note: Steel Frame Construction) DuPont™ Tyvek® Wrap Cap Screws, as distributed by DuPont: 1-5/8 inch rust resistant screw with 2-inch diameter plastic cap or manufacturer approved 1-1/4” or 2” metal gasketed washer.

AND/OR

2.
(Specifier Note: Wood Frame Construction) DuPont™ Tyvek® Wrap Caps, as distributed by DuPont: #4 nails with large 1-inch plastic cap fasteners, or 1-inch plastic cap 
staples with leg length sufficient to achieve a minimum penetration of 5/8-inch into the wood stud.
AND/OR

3.
(Specifier Note: Masonry Construction) Masonry tap-con fasteners with DuPont™ Tyvek® Wrap Caps as distributed by DuPont: 2-inch diameter plastic cap fastener.

C.
Sealants

(Specifier Note: Sealants compatible with weather barrier assembly may be specified in this section or in Division 07 sealants section. DELETE paragraphs 2 and 3 when sealants are specified in Division 07.)

1.
Refer to Section [07 92 00 Joint Sealants] [insert section number and title].

OR

2.
Provide sealants that comply with ASTM C 920, elastomeric polymer sealant to maintain watertight conditions.

(Specifier Note: Sealant products listed below have been tested for compatibility and intermittent contact with DuPont weather barrier materials. EDIT for specific project as appropriate when sealants are specified within this section.)

3.
Products:

a.
DuPont™ Residential Sealant

b.
DuPont™ Commercial Sealant
c.
Sealants recommended by the weather barrier manufacturer.

D.
Adhesive:

1.
Provide adhesive recommended by weather barrier manufacturer.

(Specifier Note: Products listed below are only recommendations for inclusion when required and should be EDITED for specific project.)

2.
Products:

a.
Liquid Nails® LN-109

b.
Denso Butyl Liquid

c.
3M High Strength 90

(Specifier Note: SIA product meets California VOC requirements.)

d.
SIA 655

e.
Adhesives recommend by the weather barrier manufacturer.

E.
Primer:

1.
Provide flashing manufacturer recommended primer to assist in adhesion between substrate and flashing.

(Specifier Note: Products listed below are only recommendations for inclusion when required and should be EDITED for specific project.)

2.
Products:

a.
3M High Strength 90

b.
Denso Butyl Spray

(Specifier Note: SIA product meets California VOC requirements.)

c.
SIA 655

d.
Permagrip 105

e
ITW TACC Sta’ Put SPH

f.
Primers recommended by the flashing manufacturer


F.
Flashing

(Specifier Note: Flashing is dependent upon construction conditions. DELETE flashing products that are unnecessary and inappropriate for specific project.)

1.
DuPont™ FlexWrap™, as distributed by DuPont: flexible membrane flashing materials for window openings and penetrations.

AND/OR
2.
DuPont™ FlexWrap™ NF, as distributed by DuPont: flexible membrane flashing materials for window openings and penetrations.

AND/OR
3.
DuPont™ StraightFlash™, as distributed by DuPont: straight flashing membrane materials for flashing windows and doors and sealing penetrations, masonry ties, etc.

AND/OR

4. DuPont™ StraightFlash™ VF, as distributed by DuPont: dual-sided, straight flashing membrane materials for brickmold and non-flanged windows and doors.

AND/OR

5.  DuPont™ Thru-Wall Surface Adhered Membrane with Integrated Drip Edge: Thru-Wall flashing  

     membrane materials for flashing at changes in direction or elevation (shelf angles, foundations, etc.) 
     and at transitions between different assembly materials.
AND/OR

6.  Preformed Inside and Outside Corners and End Dams as distributed by DuPont: Preformed three-
     dimensional shapes to complete the flashing system used in conjunction with DuPont™ Thru-Wall        

     Flashing.
PART 3 - EXECUTION

3.1 EXAMINATION

A.
Verify substrate and surface conditions are in accordance with weather barrier manufacturer recommended tolerances prior to installation of weather barrier and accessories.

3.2 INSTALLATION – WEATHER BARRIER

(Specifier Note: It is the recommendation and the preferred application for the weather barrier to be installed prior to the installation of the windows and doors. In cases where conditions require installation of the weather barrier after the window installation or use of non-flanged or brick mold windows, contact a DuPont™ Tyvek® Specialist for assistance and recommendations.)

A.
Install weather barrier over exterior face of exterior wall substrate in accordance with manufacturer recommendations.

B.
Start weather barrier installation at a building corner, leaving 6-12 inches of weather barrier extended beyond corner to overlap.

C.
Install weather barrier in a horizontal manner starting at the lower portion of the wall surface. Maintain weather barrier plumb and level.

D.
Extend bottom roll edge over sill plate interface 2” to 3” minimum. Seal weather barrier with sealant or tape. Shingle weather barrier over back edge of thru-wall flashings and seal weather barrier with sealant or tape. Ensure weeps are not blocked.

E.
Subsequent layers shall overlap lower layers a minimum of 6 inches horizontally in a shingling manner.

F.
Window and Door Openings: Extend weather barrier completely over openings.
G.
Weather Barrier Attachment:

(Specifier Note: Attachment method is dependent upon substrate construction. DELETE methods that are unnecessary and inappropriate for specific project.)

1.
(Specifier Note: Steel or Wood Frame Construction) Attach weather barrier to studs through exterior sheathing. Secure using weather barrier manufacturer recommended fasteners, spaced 12 -18 inches vertically on center along stud line, and 24 inch on center, maximum horizontally.

AND/OR

2.
(Specifier Note: Masonry Construction) Attach weather barrier to masonry. Secure using weather barrier manufacturer recommended fasteners, spaced 12 -18 inches vertically on center and 24 inches maximum horizontally. Weather barrier may be temporarily attached to masonry using recommended adhesive, placed in vertical strips spaced 24 inches on center, when coordinated on the project site. Use cladding fasteners as permanent means of attachment.

(Specifier Note: Cladding anchors, supports and fasteners will likely be specified in the Section including the cladding. COORDINATE the inclusion of the following paragraph in the appropriate specification section. With weather barrier manufacturer’s approval, cladding anchors can be used to fasten the weather barrier.)

H.
Apply 4 inch by 7 inch piece of DuPont™ StraightFlash™ or weather barrier manufacturer approved alternate to weather barrier membrane prior to the installation cladding anchors.

3.3 SEAMING

A.
Seal seams of weather barrier with seam tape at all vertical and horizontal overlapping seams.

B.
Seal any tears or cuts as recommended by weather barrier manufacturer.

(Specifier Note: Opening preparation and flashing installation is dependent upon the construction of the opening and construction of the window. DELETE execution requirements that are not appropriate for specific project. COORDINATE proper design and detailing at windows, doors and other openings or intersections for proper flashing in accordance with window manufacturer guidelines, industry standards and best flashing and waterproofing practices.)

(Specifier Note: MAINTAIN the following opening preparation and flashing articles when used in conjunction with flanged windows and doors.)

3.4 OPENING PREPARATION (for use with flanged windows)

A.
Cut weather barrier in an “[image: image1.png]


-cut” pattern.  A modified [image: image2.png]


-cut is also acceptable.

   1.  Cut weather barrier horizontally along the bottom and top of the window opening.

2.
From the top center of the window opening, cut weather barrier vertically down to the sill

3.
Fold side and bottom weather barrier flaps into window opening and fasten.

B.
Cut a head flap at 45-degree angle in the weather barrier membrane at window head to expose 8 inches of sheathing. Temporarily secure weather barrier membrane flap away from sheathing with tape.

3.5 FLASHING

(Specifier Note: DuPont recommends the use of the 7-inch wide DuPont™ FlexWrap™ with 2 by 4 framing and 9-inch wide DuPont™ FlexWrap™with 2 by 6 framing.)

A.
Cut [7-inch] [9-inch] wide DuPont™ FlexWrap™ or DuPont™ FlexWrap™ NF a minimum of 12 inches longer than width of sill rough opening. Apply primer as recommended by the manufacturer.

B.
Cover horizontal sill by aligning DuPont™ FlexWrap™ or DuPont™ FlexWrap™ NF edge with inside edge of sill. Adhere to rough opening across sill and up jambs a minimum of 6 inches. Secure flashing tightly into corners by working in along the sill before adhering up the jambs.

C.
Fan DuPont™ FlexWrap™ or DuPont™ FlexWrap™ NF at bottom corners onto face of wall. Firmly press in place. Mechanically fasten fanned edges. Mechanical fastening is not required for DuPont™ FlexWrap™ NF.
D.
On exterior, apply continuous bead of sealant to wall or backside of window mounting flange across jambs and head. Do not apply sealant across sill.

E.
Install window according to manufacturer’s instructions.

F.
Apply 4-inch wide strips of DuPont™ StraightFlash™ at jambs overlapping entire mounting flange. Extend jamb flashing 1-inch above top of rough opening and below bottom edge of sill flashing.

G.
Apply 4-inch wide strip of DuPont™ StraightFlash™ as head flashing overlapping the mounting flange. Head flashing should extend beyond outside edges of both jamb flashings.

H.
Position weather barrier head flap across head flashing. Adhere using 4-inch wide DuPont™ StraightFlash™ over the 45-degree seams.

I.
Tape head flap in accordance with manufacturer recommendations.
J.
On interior, install backer rod in joint between frame of window and flashed rough framing. Apply sealant around entire window to create air seal. Apply sealant in accordance with sealant manufacturer’s instructions and ASTM C1193.

3.8 THRU-WALL FLASHING INSTALLATION

A. 
Apply primer per manufacturer’s written instructions.

B.
Install preformed corners and end dams bedded in sealant in appropriate locations along wall.

C.
Starting at a corner, remove release sheet and apply membrane to primed surfaces in lengths of 
8 to 10 feet.

D.
Extend membrane through wall and leave ¼ inch minimum exposed to form drip edge.

E.
Roll flashing into place. Ensure continuous and direct contact with substrate.

F.
Lap ends and overlap preformed corners 4 inches minimum. Seal all laps with sealant.

(Specifier Note:  DELETE paragraph below if a metal drip edge is not required.)

G. Trim exterior edge of membrane 1-inch and secure metal drip edge per manufacturer’s written instructions.

(Specifier Note:  DELETE option below when not required for project.)

H.
Terminate membrane on vertical wall. [Terminate into reglet, counterflashing or with termination bar.]

I.
Apply sealant bead at each termination.

(Specifier Note:  DELETE remaining installation paragraphs below not required for project. Coordinate with accessories named in Part 2 above.)

3.9 THRU-WALL FLASHING / WEATHER BARRIER INTERFACE AT BASE OF WALL

A.
Overlap thru-wall flashing with weather barrier by 6-inches.

B.
Mechanically fasten bottom of weather barrier through top of thru-wall flashing.

C.
Seal vertical and horizontal seams with tape or sealing membrane.

3.10 THRU-WALL FLASHING / WEATHER BARRIER INTERFACE AT SHELF ANGLE

A.
Seal weather barrier to bottom of shelf angle with sealing membrane.

B.
Apply thru-wall flashing to top of shelf angle. Overlap thru-wall flashing with weather barrier by 6-inches.

C.
Seal bottom of weather barrier to thru-wall flashing with tape or sealing membrane.

3.11 THRU-WALL FLASHING / WEATHER BARRIER INTERFACE AT WINDOW HEAD

A.
Cut flap in weather barrier at window head.

B.
Prime exposed sheathing.

C.
Install lintel as required. Verify end dams extend 4 inches minimum beyond opening.

D.
Install end dams bedded in sealant.

E.
Adhere 2 inches minimum thru-wall flashing to wall sheathing. Overlap lintel with thru-wall flashing and extend ¼ inch minimum beyond outside edge of lintel to form drip edge.

F.
Apply sealant along thru-wall flashing edges.

G.
Fold weather barrier flap back into place and tape bottom edge to thru-wall flashing.

H.
Tape diagonal cuts of weather barrier.

I.
Secure weather barrier flap with fasteners.
3.12 PROTECTION

A.
Protect installed weather barrier from damage.

END OF SECTION

DISCLAIMER: 

DuPont Building Innovations Guide Specifications have been written as an aid to the professionally qualified specifier and design professional. The use of this guideline specification requires the sole professional judgment and expertise of the qualified specifier and design professional to adapt the information to the specific needs for the building owner and the project, to coordinate with their construction document process, and to meet all the applicable building codes, regulations and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Please contact your local DuPont™ Tyvek® Specialist at 1-800-44-Tyvek or visit www.construction.tyvek.com

Project Name/Project Number/4-Apr-18
07 25 00 
Weather Barriers



DuPont™ Tyvek® HomeWrap® 

© 2009 DuPont. DuPont™, and all products denoted herein with ™ or ® are trademarks or registered trademarks of E.I. 
du Pont de Nemours and Company. All rights reserved.
Project Name/Project Number/4-Apr-18
07 25 00 
Weather Barriers



DuPont™ Tyvek® HomeWrap® 

© 2009 DuPont. DuPont™, and all products denoted herein with ™ or ® are trademarks or registered trademarks of E.I. 
du Pont de Nemours and Company. All rights reserved

